## READ_ME
this workbook does X

## Sheet1
measured
radius(mm) | Actual(mm^-2) | .7mm smooth |  | Medium | Medium quick | medium quick smoothed |  | High | High smoothed | percent error medium
50.8 | 0.000398 |  |  | 0.0003813 | 0.00038757 | 0.0004538 |  | 0.00042 | bad | 4.196 | 5.5276
46.99 | 0.000453 |  |  | 0.0004507 | [5 empty] | 0.50773 | 100
17.78 | 0.003163 |  |  | 0.0031 | [5 empty] | 1.9918 | 100
Radius |  | Scan settings/type
50.8 |  |  |  | Sanded scans
| Actual | Medium | Medium | Medium quick | Medium | medium_high |  | high_high | high_classic | high | high | medium_high1 | medium_high2 | .4mm plastic | [14 empty] | medium plastic
Curvatuve[1/mm^2] | 0.000398 | 0.00038277 | 0.0003813 | 0.00038757 | 0.00038178 | 0.00038427 |  | 0.000383 | 0.00047499 | 0.00042 | 0.00042159 | 0.00038388 | 0.0003849 | 0.00039023 | [14 empty] | 0.00038673
Percent Error |  | 3.8266 | 4.196 | 2.6206 | 4.0754 | 3.4497 |  | 3.7688 | 19.3442 | 5.5276 | 5.9271 | 3.5477 | 3.2915 | 1.9523 | [14 empty] | 2.8317
|  |  |  | **repeatible? | [15 empty] | .4mm PLASTIC
^
sanded Medium fast scan
0.0068
|  |  |  | 1608.5427 | Huge error
Radius
12.7
| Actual | classic Medium | Medium
Curvatuve[1/mm^2] | 0.0062 | 0.1122 | 0.0092
Percent Error |  | 1709.6774 | 48.3871
Radius
63.5mm | [28 empty] | thin plasti dip
| Actual | high Medium | high Medium2 | high Medium3 | high Medium4 | high .4mm 2 | .4mm 1 | high .4mm3 | high .4mm4 | high .4mm 5 | high .3mm2 | high .3mm 3 | high .3mm 4 | .7mm scan1 | 2MM scan1 | Low Scan1 | low scan 75% | high .3mm plastic | medium PLASTIC | .4mm PLASTIC | .4mm PLASTIC 85 | .4mm PLASTIC 72 | .4mm PLASTIC 61 | High PLASTIC | High PLASTIC 85 | High PLASTIC 72 | High PLASTIC 61 | High PLASTIC 50 | high .4mm plastic | high medium plastic | high .4mm plastic2 | high .3mm plastic2 | high medium plastic2
Curvatuve[1/mm^2] | 0.000248 | 0.00024845 | 0.00024796 | 0.00024171 | 0.00024633 | 0.00024657 | 0.00024894 | 0.00024689 | 0.00024688 | 0.00024633 | 0.00024481 | 0.00024849 | 0.00024467 | 0.0002488 | 0.00025037 | 0.00024942 | 0.00026647 | 0.00024661 | 0.00024497 | 0.00024881 | 0.00027521 | 0.00028725 | 0.00030423 | 0.00024811 | 0.00029472 | 0.00028916 | 0.00034381 | 0.00035016 | 0.00024717 | 0.00024614 | 0.00024276 | 0.00024907 | 0.00024828
Percent Error |  | 0.18145 | 0.016129 | 2.5363 | 0.67339 | 0.57661 | 0.37903 | 0.44758 | 0.45161 | 0.67339 | 1.2863 | 0.19758 | 1.3427 | 0.32258 | 0.95565 | 0.57258 | 7.4476 | 0.56048 | 1.2218 | 0.32661 | 10.9718 | 15.8266 | 22.6734 | 0.044355 | 18.8387 | 16.5968 | 38.6331 | 41.1935 | 0.33468 | 0.75 | 2.1129 | 0.43145 | 0.1129
stDev |  | 0.00024914 | 0.00022326 | 0.00022347 | 0.0002111 | 0.00030358 | 0.00027185 | 0.00034429 | 0.00034939 | 0.00031046 | 0.00050058 | 0.00047005 | 0.0004249 | 0.00017083 | 0.00010749 | 0.00013245 | 0.00012409 | 0.00047845 | 0.00026697 | 0.0003278 | 0.00032385 | 0.00032539 | 0.00032806 | 0.00076612 | 0.00079122 | 0.00032715 | 0.00098483 | 0.00093305 | 0.0002682 | 0.00029959 | 0.0003841 | 0.00059076 | 0.00021098
Filtered 3sigma rule
meanKfiltered |  | 0.00024791 | 0.00024668 | 0.00023871 | 0.00024422 | 0.00024504 | 0.00024086 | 0.00024225 | 0.00024422 | 0.00024331 | 0.00024451 | 0.00024444 | 0.00024008 | 0.00024313 | 0.0002455 | 0.00024393 | 0.00025875 | 0.00022762 | 0.00023469 | 0.00023869 | 0.00026482 | 0.00027756 | 0.00029406 | 0.00022069 | 0.0002661 | 0.00028037 | 0.00030785 | 0.00031573 | 0.00023915 |  |  | 0.00022966
percent error |  | 0.03629 | 0.53226 | 3.746 | 1.5242 | 1.1935 | 2.879 | 2.3185 | 1.5242 | 1.8911 | 1.4073 | 1.4355 | 3.1935 | 1.9637 | 1.0081 | 1.6411 | 4.3347 | 8.2177 | 5.3669 | 3.754 | 6.7823 | 11.9194 | 18.5726 | 11.0121 | 7.2984 | 13.0524 | 24.1331 | 27.3105 | 3.5685
stdev2 |  | 0.00020043 | 8.357e-05 | 0.00018656 | 0.00017877 | 0.00024231 | 0.00022481 | 0.00027783 | 0.00027322 | 0.00025361 | 0.00039182 | 0.00036135 | 0.00033577 | 0.0001439 | 8.953e-05 | 0.00011114 | 8.7465e-05 | 0.00037868 | 0.0002229 | 0.00027076 | 0.00026758 | 0.00026659 | 0.00026735 | 0.00059656 | 0.000625 | 0.00026714 | 0.00074385 | 0.00071897 | 0.00037868 |  |  | 0.00040851
Meslab+pointcloud 5 in sphere | [23 empty] | simplifing mesh reduces deviation with minimal effect on accuracy |  |  |  | Increasing the Montecarlo factor results in a more accurate mesh at the cost of a higher deviation. Note from 100-1000 there was little to no difference in # of vertices, accuracy and deviation
| STL | [5 empty] | Pointcloud | [16 empty] | These 4 data columns are medium scans reduced with the poisson disk subsampling method with approx geodesic distance and montercalo value of 40, normals computed with value of 10 |  |  |  | These 3 scans are simplified with a poisson dish method with increasing montecarlo factors, 1 10, 100, 1000. Note increasing the monte factor also increases the vertices. M1 has 39% size M10 is 91% size m100 is 107 % size M1000 has 107%size. Note orignal mesh as 81000 vertices. Approx geodesic distance is checked, normals value of 10 SRBP default |  |  |  | These 5 data columns are medium scans reduced with the poisson disk subsampling method with approx geodesic distance and montecarlo value of 100, normals computed with value of 10 SRBP default. Goal is to determine if we can use high montecarlo factor and high simplication to get accurate and precise data. simplication of file is expressed as a precentage of the original's size | [8 empty] | Toggling different settings under poisson disk sampling settings, each iteration simplied differently, this is expresses as precentage of original file. Approx Geodesic, Base mesh and Heuristic sample pool |  |  | Base mesh subsample has no effect, might be useful if scanning higher resolutions though | No discernable difference | simplied 29% SRBP with screened Poisson geodesic M100 changing clustering radius, default 20% changed to 5, 13, 50. CR Cluster Radius. Note when generating faces, # of faces were uneffected by change in CR |  |  | Retesting computing normals with respect to neighbors. Default value is 10, samples are 2, 100, 1000 at 29% simplication vis SP (Approx Geo, M100). Using SRBP default values. Note # of faces were uneffected by change in normal neighbors |  |  | SRBP default, simplied to 29, 20, 10 via SP M100 Approx Geo, normals 100 |  |  | sp simplication with M150 default SRBPnormals 10 |  |  |  |  | Marching cubes, simplified using 38% poisson dish method M150
| principle | SRSP default | stl | normal | Quadratic | scale quadratic | Taubin | SRSP_normal50 | SRSP_normal100 | SRSP_normal1000 | SRSP simp55 | SRVCG default | SRVCG normal100 | SRBP_default | SRBP_simp62 | SRVCG simp50 | SRBP poisson40 | SRBP poisson100 | SRBP poisson100 upsampled | SRSP50simp_mont40, sample size 7 | SRSPsimp50sample20 | SRSPsimp52sample20 | SRBPsimp50 | mediumhighSRBP | SRBP_upsimp132 | SRBP_simp75 | SRBP_simp37 | SRBP monte 1 | SRBP monte 10 | SRBP monte 100 | SRBP monte 1000 | SRBP simp 87 | SRBP simp 68 | SRBP simp 58 | SRBP simp 38 | SRBP simp 28 | SRBP simp 20 | SRBP simp 15 | SRBP simp 10 | SRBP simp 5 | SRBP No Apprx geo 38 | SRBP No Apprx geo 29 | SRBP No Apprx geo 20 | SRBP Base mesh 27 | SRBP NO Heuristic 35 | SRBP 29 CR 5 | SRBP 29 CR 13 | SRBP 29 CR 50 | SRBP normal 2 simp 38 | SRBP normal 100 simp 38 | SRBP normal 1000 simp 38 | SRBP 29 | SRBP 20 | SRBP 10 | SRBPM150 29 | SRBPM150 20 | SRBPM150 16 | SRBPM150 12 | stl normal | SRMC default | SRMC filter scale 20 | srmc ACC 0.001 | srmc ACC 0.01 | srmc ACC 1
Curvatuve[1/mm^2] | 205940000 | 0.014 | 0.00024858 | 9.9044e-05 | 0.00022816 | 0.00025828 | 0.00019571 | 0.00036735 | 0.00034704 | 0.00059417 | 0.00051001 | 0.0005943 | 0.0005873 | -0.0017 | 0.00014191 | 0.00021286 | 0.00025081 | 0.00019764 | 0.00017928 | 0.000259 | 0.00025572 | 0.00060451 | 0.00025244 | 0.00024933 | 0.00025151 | 0.000252 | 0.00025158 | 0.00011718 | 0.00025285 | 0.00025244 | 0.00025277 | 0.00024799 | 0.00025208 | 0.00025136 | 0.00025075 | 0.0002507 | 0.00025046 | 0.00025095 | 0.00024936 | 0.00024965 | 0.00025212 | 0.00025104 | 0.0002509 | 0.00025013 | 0.00024996 | 0.00025022 | 0.00025092 | 0.00025044 | 0.00025249 | 0.00025046 | 0.00025088 | 0.00025172 | 0.00025074 | 0.00024945 | 0.00020402 | 0.00024996 | 0.00024976 | 0.00024997 | 0.00024858 | 0.00032262 | 0.00028503 | 0.00031972 | 0.00030205 | 0.0003979
Percent Error | 8.304e+13 | 5545.1613 | 0.23387 | 60.0629 | 8 | 4.1452 | 21.0847 | 48.125 | 39.9355 | 139.5847 | 105.6492 | 139.6371 | 136.8145 | 785.4839 | 42.7782 | 14.1694 | 1.1331 | 20.3065 | 27.7097 | 4.4355 | 3.1129 | 143.754 | 1.7903 | 0.53629 | 1.4153 | 1.6129 | 1.4435 | 52.75 | 1.9556 | 1.7903 | 1.9234 | 0.0040323 | 1.6452 | 1.3548 | 1.1089 | 1.0887 | 0.99194 | 1.1895 | 0.54839 | 0.66532 | 1.6613 | 1.2258 | 1.1694 | 0.85887 | 0.79032 | 0.89516 | 1.1774 | 0.98387 | 1.8105 | 0.99194 | 1.1613 | 1.5 | 1.1048 | 0.58468 | 17.7339 | 0.79032 | 0.70968 | 0.79435 | 0.23387 | 30.0887 | 14.9315 | 28.9194 | 21.7944 | 60.4435
stDev | 66687000 | 2.1336 | 0.00024516 | 8.6228e-05 | 0.00015392 | 5.6078e-06 | 0.00029609 | 0.0049 | 0.0025 | 0.0739 | 0.0583 | 0.0223 | 0.0218 | 0.1059 | 0.0162 | 0.00033338 | 0.00020707 | 0.0114 | 0.0167 | 0.00034791 | 0.00014764 | 0.022 | 0.00024479 | 0.00024647 | 0.00026636 | 0.00023685 | 0.00018274 | 0.0181 | 0.00023051 | 0.00024293 | 0.00024182 | 0.0031 | 0.0002131 | 0.00021908 | 0.00018983 | 0.00016594 | 0.00014204 | 0.00012299 | 0.00010503 | 6.6989e-05 | 0.00018123 | 0.000172 | 0.00014217 | 0.00018323 | 0.00018765 | 0.00017274 | 0.00017054 | 0.00017521 | 0.00018788 | 0.00018161 | 0.00018452 | 0.00016206 | 0.00013736 | 0.00010289 | 0.006 | 0.00014735 | 0.00014281 | 0.00011377 | 0.00024516 | 0.0051 | 0.00033304 | 0.0049 | 0.00052814 | 0.0033
Filtered 3sigma rule
meanKfiltered | 215460000 | 0.00049879 | 0.00022482 | 8.686e-05 | 0.00022475 | 0.00025825 | 0.00019894 | 0.00031487 | 0.00010922 | 0.00034542 | 0.00033316 | 0.00021418 | 0.00021381 | 0.00025253 | 0.00025101 | 0.00020729 | 0.00023811 | 0.00025104 | 0.00025144 | 0.00023238 | 0.00024902 | 0.00025604 | 0.00024916 | 0.00024868 | 0.0002467 | 0.0002504 | 0.00025098 | 0.000264 | 0.00024955 | 0.00024926 | 0.00024894 | 0.00025091 | 0.00025078 | 0.00025063 | 0.00024963 | 0.00024957 | 0.00024992 | 0.00025095 | 0.00024944 | 0.0002493 | 0.00025092 | 0.00025012 | 0.00024954 | 0.00024934 | 0.00024914 | 0.0002494 | 0.00025026 | 0.00024971 | 0.00025082 | 0.00024877 | 0.00024907 | 0.00025127 | 0.00025092 | 0.00024833 | 0.00024963 | 0.00024962 | 0.00024904 | 0.00025 | 0.00022482 | 0.00028766 | 0.00027121 | 0.00028799 | 0.00027759 | 0.00029102
percent error |  |  | 9.3468 | 64.9758 | 9.375 | 4.1331 | 19.7823 | 26.9637 | 55.9597 | 39.2823 | 34.3387 | 13.6371 | 13.7863 | 1.8266 | 1.2137 | 16.4153 | 3.9879 | 1.2258 | 1.3871 | 6.2984 | 0.41129 | 3.2419 | 0.46774 | 0.27419 | 0.52419 | 0.96774 | 1.2016 | 6.4516 | 0.625 | 0.50806 | 0.37903 | 1.1734 | 1.121 | 1.0605 | 0.65726 | 0.63306 | 0.77419 | 1.1895 | 0.58065 | 0.52419 | 1.1774 | 0.85484 | 0.62097 | 0.54032 | 0.45968 | 0.56452 | 0.91129 | 0.68952 | 1.1371 | 0.31048 | 0.43145 | 1.3185 | 1.1774 | 0.13306 | 0.65726 | 0.65323 | 0.41935 | 0.80645 | 9.3468 | 15.9919 | 9.3589 | 16.125 | 11.9315 | 17.3468
min K | 139266400 | -0.1022 | 3.4297e-06 | 1.2822e-05 | 7.4249e-05 | 0.00024147 | -0.00069096 | -0.0134 | -0.0072 | -0.0772 | -0.0327 | -0.00097223 | -0.00069851 | -0.0371 | -0.0248 | -0.00076059 | 4.3751e-05 | -0.0047 | -0.0054 | -0.00077448 | -0.00013752 | -0.00019698 | -0.0004815 | -0.00048857 | -0.00054749 | -0.0004585 | -0.00029491 | -0.0022 | -0.0004385 | -0.00047508 | -0.00047075 | -0.0022 | -0.00038669 | -0.00040558 | -0.00031806 | -0.00024275 | -0.0001756 | -0.00011599 | -5.6119e-05 | 4.9023e-05 | -0.0002909 | -0.00026479 | -0.0001754 | -0.00029842 | -0.00031068 | -0.00026761 | -0.00026061 | -0.00027307 | -0.00031109 | -0.00029417 | -0.00030256 | -0.00023241 | -0.00015925 | -5.3405e-05 | -0.0023 | -0.00019053 | -0.00017838 | -8.5752e-05 | 3.4297e-06 | -0.0121 | -0.00066614 | -0.0121 | -0.0013 | -0.0079
max K | 272625300 | 5.5054 | 0.00049368 | 0.00018527 | 0.00038207 | 0.0002751 | 0.0011 | 0.0152 | 0.0079 | 0.0936 | 0.0274 | 0.0024 | 0.0035 | 0.0942 | 0.0157 | 0.0012 | 0.00045785 | 0.0109 | 0.0157 | 0.0013 | 0.00069812 | 0.0014 | 0.00098666 | 0.00098769 | 0.0011 | 0.00096128 | 0.00079954 | 0.0055 | 0.00094431 | 0.00098108 | 0.00097821 | 0.0086 | 0.00089089 | 0.00090781 | 0.00081875 | 0.0007484 | 0.00067355 | 0.0006189 | 0.00056188 | 0.00044755 | 0.00079533 | 0.00076596 | 0.00067457 | 0.00079819 | 0.00081238 | 0.00076607 | 0.00076102 | 0.00077422 | 0.00081612 | 0.00079337 | 0.00080422 | 0.0007371 | 0.00066278 | 0.00055253 | 0.0083 | 0.00069129 | 0.00067258 | 0.00058488 | 0.00049368 | 0.015 | 0.0013 | 0.0147 | 0.0019 | 0.0102
[41 empty] | Keep Approx geodesic checked, compared to SRBP simp 38, 28, 20 for reference |  |  |  |  | Leave at CR of 20, StDev is better, very small difference |  |  | using value of 100 appears to give best results, this may change when using a point cloud with less vertices IE more simplied |  |  | Results vary compare to column AK-AO
0.62963
SRBPsimp62
4 in radius sheet
| classic high | high high | classic medium 1 | classic medium 2 | classic medium 3 | classic medium 4 | high medium 1 | high medium 2 | high medium 3 | high medium 4 | PTCLOUD 1 | PTCLOUD 2 | PTCLOUD 3
Curvature | 1.01e-05 | 1.127e-05 | 8.0178e-07 | -2.5737e-07 | 2.6571e-07 | 3.5678e-07 | 4.2011e-07 | 4.5128e-07 | 3.5158e-07 | 1.5489e-07 | 0.0008896 | -2.4147e-06 | 1.3855e-06
stDev | 0.00022064 | 0.00041044 | 5.8665e-05 | 5.6726e-05 | 5.5832e-05 | 4.9372e-05 | 6.4473e-05 | 6.5537e-05 | 7.2921e-05 | 7.7937e-05 | 0.049 | 0.00039467 | 0.00012176
filtered curvature | 2.3809e-06 | 2.2148e-06 | 3.2571e-07 | -6.6013e-07 | -9.9934e-08 | -1.4402e-07 | -6.6717e-07 | -7.9879e-07 | -8.9949e-07 | -5.7897e-07 | 2.0642e-07 | 7.3902e-07 | 1.6778e-07
filtered stdev | 0.00015611 | 0.00021927 | 4.6654e-05 | 5.1484e-05 | 4.7471e-05 | 4.2565e-05 | 5.4113e-05 | 5.2651e-05 | 5.2688e-05 | 5.3141e-05 | 1.9e-05 | 6.9981e-05 | 7.3479e-05
5 scans were scanned using high_classic settings, reduced with poisson disk sampling to certain thresholds, stl, SRBP 31% 23% 16% 6% and 1.5% using M150, geo approx andnormals value of 10 SRBP default
| High Classic | [6 empty] | Medium_classic | [5 empty] | medium_high
SPHERES | Actual | STL | 31 | 23 | 16 | 6 | 1.5 | STL | 35 | 26 | 16 | 7 | 1.7 | STL | 37 | 22 | 13 | 7
4in diameter | 0.0003875
Curvatue |  | 0.00028056 | 0.00044205 | 0.00042599 | 0.00039791 | 0.0004069 | 0.00036895 | 0.00039365 | 0.00038659 | 0.00038609 | 0.00037183 | 0.00037365 | 0.00038783 | 0.00037663 | 0.00038134 | 0.00037074 | 0.00038177 | 0.00038105
% error |  | 27.5974 | 14.0774 | 9.9329 | 2.6865 | 5.0065 | 4.7871 | 1.5871 | 0.23484 | 0.36387 | 4.0439 | 3.5742 | 0.085161 | 2.8052 | 1.5897 | 4.3252 | 1.4787 | 1.6645
Stdev |  | 0.0265 | 0.0072 | 0.0049 | 0.0046 | 0.0015 | 0.00031784 | 0.00032406 | 0.00026581 | 0.0003364 | 0.0001811 | 0.00013879 | 3.8106e-05 | 0.00031212 | 0.00023799 | 0.00021452 | 0.00016573 | 0.00013364
Relative Deviation |  | 9445.3949 | 1628.775 | 1150.2617 | 1156.0403 | 368.6409 | 86.1472 | 82.3219 | 68.7576 | 87.1299 | 48.7051 | 37.1444 | 9.8254 | 82.8718 | 62.4089 | 57.8627 | 43.411 | 35.0715
filtered Curvature |  | -3.6671e-05 | 0.00017512 | 0.00023767 | 0.00022222 | 0.00033037 | 0.00035368 | 0.00037978 | 0.00037644 | 0.00038037 | 0.00036693 | 0.00037168 | 0.00038832 | 0.00036402 | 0.00037478 | 0.00036891 | 0.00037893 | 0.00038196
min |  | -0.0789 | -0.0212 | -0.0142 | -0.0135 | -0.0042 | -0.00056965 | -0.00052196 | -0.00039133 | -0.00032342 | -0.00013148 | -2.6308e-05 | 0.00028987 | -0.00052216 | -0.00032526 | -0.00026913 | -0.00010576 | -1.9781e-05
max |  | 0.0797 | 0.0221 | 0.0151 | 0.0143 | 0.005 | 0.0013 | 0.0014 | 0.0012 | 0.0014 | 0.00090924 | 0.00078927 | 0.00049287 | 0.0013 | 0.0011 | 0.001 | 0.00087748 | 0.00078184
3in diameter | 0.000689
Curvatue |  | 0.00067407 | 0.00064191 | 0.00071627 | 0.0007015 | 0.00069651 | 0.00069789 | 0.00069366 | 0.00068773 | 0.00068143 | 0.00069545 | 0.00069115 | 0.00069433 | 0.00068182 | 0.00068753 | 0.00068868 | 0.00069109 | 0.00068966
|  | 2.1669 | 6.8345 | 3.9579 | 1.8142 | 1.09 | 1.2903 | 0.67634 | 0.18433 | 1.0987 | 0.93614 | 0.31205 | 0.77358 | 1.0421 | 0.21335 | 0.046444 | 0.30334 | 0.095791
Stdev |  | 0.008 | 0.0051 | 0.0031 | 0.0026 | 0.0013 | 0.0003425 | 0.0004614 | 0.00033445 | 0.00031087 | 0.0002458 | 0.00018049 | 6.4909e-05 | 0.00042583 | 0.00031009 | 0.00025472 | 0.00020397 | 0.0001591
Relative Deviation |  | 1186.8204 | 794.5039 | 432.7977 | 370.6344 | 186.6448 | 49.0765 | 66.5167 | 48.631 | 45.6202 | 35.344 | 26.1144 | 9.3484 | 62.4549 | 45.102 | 36.9867 | 29.5142 | 23.0693
filtered Curvature |  | 0.00052742 | 0.00048076 | 0.00057931 | 0.00056799 | 0.00062156 | 0.00068737 | 0.00067379 | 0.0006743 | 0.00067009 | 0.00068865 | 0.0006848 | 0.0006931 | 0.00066666 | 0.00067678 | 0.00067936 | 0.00068412 | 0.00068492
min |  | -0.0233 | -0.0147 | -0.0085 | -0.007 | -0.0029 | -0.00017739 | -0.00067241 | -0.00019988 | -0.00021699 | 3.8572e-06 | 0.00021124 | 0.00052573 | -0.00053332 | -0.00014331 | -3.4155e-05 | 0.00010221 | 0.00027134
max |  | 0.0247 | 0.0159 | 0.0099 | 0.0084 | 0.0045 | 0.0017 | 0.0021 | 0.0017 | 0.0016 | 0.0014 | 0.0012 | 0.00085987 | 0.002 | 0.0016 | 0.0014 | 0.0013 | 0.0012
2in diameter | 0.00155
Curvatue |  | 0.0015 | 0.0015 | 0.0015 | 0.0015 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0015 | 0.0015 | 0.0015 | 0.0015 | 0.0016
|  | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258 | 3.2258
Stdev |  | 0.0044 | 0.003 | 0.0028 | 0.0025 | 0.0014 | 0.00047464 | 0.00085435 | 0.00058051 | 0.00052867 | 0.00042654 | 0.00028317 | 8.9273e-05 | 0.00081629 | 0.00057243 | 0.00046203 | 0.00036214 | 0.00025923
Relative Deviation |  | 293.3333 | 200 | 186.6667 | 166.6667 | 87.5 | 29.665 | 53.3969 | 36.2819 | 33.0419 | 26.6587 | 17.6981 | 5.5796 | 54.4193 | 38.162 | 30.802 | 24.1427 | 16.2019
filtered Curvature |  | 0.0013 | 0.0014 | 0.0014 | 0.0014 | 0.0015 | 0.0016 | 0.0015 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0016 | 0.0015 | 0.0015 | 0.0015 | 0.0015
min |  | -0.0116 | -0.0074 | -0.0069 | -0.0056 | -0.0019 | 0.00020737 | -0.00021836 | 0.00012514 | 0.00031386 | 0.00053011 | 0.00076119 | 0.0014 | -0.00012714 | 0.0001645 | 0.00024996 | 0.00055785
max |  | 0.0146 | 0.0105 | 0.01 | 0.0089 | 0.0057 | 0.0029 | 0.0041 | 0.0033 | 0.0032 | 0.0028 | 0.0024 | 0.0018 | 0.004 | 0.0032 | 0.0029 | 0.0026
1in diameter | 0.0062
Curvatue |  | 0.0017 | 0.0064 | 0.0064 | 0.0064 | 0.0066 | 0.0063 | 0.0064 | 0.0063 | 0.0064 | 0.0063 | 0.0064 | 0.0063 | 0.0062 | 0.0065 | 0.0063 | 0.0064
|  | 72.5806 | 3.2258 | 3.2258 | 3.2258 | 6.4516 | 1.6129 | 3.2258 | 1.6129 | 3.2258 | 1.6129 | 3.2258 | 1.6129 | 0 | 4.8387 | 1.6129 | 3.2258
Stdev |  | 0.0057 | 0.0086 | 0.0054 | 0.0047 | 0.003 | 0.0014 | 0.003 | 0.002 | 0.0019 | 0.0015 | 0.0012 | 0.00046182 | 0.0028 | 0.0021 | 0.0017 | 0.0015
filtered Curvature |  | 0.0014 | 0.006 | 0.0062 | 0.0062 | 0.0065 | 0.0063 | 0.0063 | 0.0062 | 0.0063 | 0.0063 | 0.0063 | 0.0063 | 0.0061 | 0.0065 | 0.0062 | 0.0064
min |  | -0.0155 | -0.0186 | -0.0088 | -0.0066 | -0.0015 | 0.0028 | 0.0004092 | 0.0018 | 0.0023 | 0.0034 | 0.0039 | 0.0055 | 0.00020238 | 0.0022 | 0.0029 | 0.0034
max |  | 0.0189 | 0.0321 | 0.0224 | 0.0203 | 0.0152 | 0.0101 | 0.0153 | 0.0124 | 0.0122 | 0.0103 | 0.0097 | 0.007 | 0.0146 | 0.0127 | 0.011 | 0.0105
quality of shape is reduced definlty too simplied
These samples are undergoing the procedure scan -> filter off outliers --> smooth ->> resample --> calculate curvature All these samples were imported into matlab to filter off outliers (3sigma from stdev) and imported into meshlab as a point cloud(xyz) to recalculate curvature below are different processes i used to recalculate gaussian curvature. All use screen poisson simplication to 30% unless otherwise specified
| Original STL f ile, no remeshing no smoothing | Remeshed wih screened poisson simplied to 30% remeshed with SRBP | Smoothed with Lap-smooth surface preserving default values | Lap-smooth surface preserving 3 iterations | Lap-smooth surface preserving .1 degree max normal | Lap-smooth surface preserving 3 degree max normal | Lap-smooth surface preserving 10 iterations | smoothing software after mesh is simplied, 20 iterations | smoothing software after mesh is simplied, 2 iterations | smoothing software after mesh is simplied, 2000 iterations calculating normals with respect to 100 normals (default value is 10) | no smoothing just simplied mesh to 7%v instead of 30% | Scale Dependant Laplacian smooth 6 iterations | Scale Dependant Laplacian smooth 6 iterations on STL mesh | Scale Dependant Laplacian smooth 100 iterations | Scale Dependant Laplacian smooth 10 iterations | Scale Dependant Laplacian smooth 1 iterations | HC Laplacian smooth default values | Laplacian smooth default values | Smooth face normals default values | Tabuin Smooth default values | Two Step Smooth default values | Exported matrix from matlab, 6% size with poisson simplication | high resolution scan lapLACIAN SMOOTH 6 iterations Poisson simpication to 6% of original size | high resolution scan lapLACIAN SMOOTH 1 iterations Poisson simpication to .3% of original size
True curvature is 0.000248 | STL | original medium high scan | Lap-smooth surface preserving default | LS3iteration | LS .1 degree | LS 3degree | LS 10 iteration | Normalsmooth 20 iterations | Normalsmooth 2 iterations | Normalsmooth2000iterationsneighbors100 | nooutierssimp7 | SDLS6iterations | STLSDLS6 | SDLS100 | SDLS10 | SDLS1 | HCLS | LS | SFN | TS | TSS | NooutliersPoisson6 | high_high_LC6_PSD2% | highLCsimp0.3%
Curvatuve[1/mm^2] | 0.00024803 | 0.00024874 | 0.00025008 | 0.00016045 | 0.0002507 | 0.00024966 | 0.00025071 | 0.00025058 | 0.00025141 | 0.00025015 | 0.00025044 | 0.00024989 | 0.00016007 | -0.0149 | -5.0571e-05 | 0.00025168 | 0.0002505 | 0.00025051 | 0.00012248 | 0.00021857 | 0.00016004 | 0.000249 | 0.00025117 | 0.00024901
Percent Error
stDev | 0.00024839 | 0.00024474 | 0.00014782 | 0.0077 | 0.0001522 | 0.00015089 | 0.00014833 | 0.00014949 | 0.00015154 | 0.000149 | 7.804e-05 | 8.3853e-05 | 0.0088 | 0.1974 | 0.0152 | 0.00014714 | 0.0001142 | 8.6107e-05 | 0.0096 | 0.003 | 0.0089 | 8.7132e-05 | 0.00019549 | 9.9685e-05
Relative deviation | 100.1451 | 98.3919 | 59.1091 | 4799.0028 | 60.71 | 60.4382 | 59.164 | 59.6576 | 60.276 | 59.5643 | 31.1612 | 33.556 | 5497.5948 | 1324.8322 | 30056.7519 | 58.4631 | 45.5888 | 34.3727 | 7838.0144 | 1372.558 | 5561.1097 | 34.9928 | 77.8317 | 40.0325
Filtered 3sigma rule
meanKfiltered | 0.00024743 | 0.00024774 | 0.00024855 | 0.00024976 | 0.00024887 | 0.00024861 | 0.00024868 | 0.00024924 | 0.00025006 | 0.00024834 | 0.00024978 | 0.00024922 | 0.00024555 | -0.0222 | 0.00020434 | 0.00025195 | 0.0002515 | 0.00025106 | 0.00025085 | 0.00025021 | 0.00025104 | 0.0002483 | 0.00024155 | 0.00024228
percent error
min K | -0.00049706 | -0.00048547 | -0.00019239 | -0.00089551 | -0.00020575 | -0.00020283 | -0.00018963 | -0.00019691 | -0.00020046 | -0.00019353 | 2.3318e-05 | -1.4159e-06 | -0.0235 | -0.607 | -0.0446 | -0.00018972 | -9.1533e-05 | -7.774e-06 | -0.0011 | -0.0012 | -0.00037073 | -1.2167e-05 | -0.00033379 | 1.4343e-05
max K | 0.00099266 | 0.00098284 | 0.00069282 | 0.0027 | 0.00070561 | 0.0007021 | 0.00069539 | 0.00069894 | 0.0007058 | 0 | 0.00048303 | 0.00050034 | 0.0252 | 0.5757 | 0.0442 | 0.00069303 | 0.00059211 | 0.00050871 | 0.0058 | 0.0043 | 0.0031 | 0.00050878 | 0.00083463 | 0.00053804

## 5insphere
Theoretical curvatue | 0.000248
| STL | 50% sampled | 30% sampled | 10% sampled
Average Gaussian Curvature | 0.00024891 | 0.00025151 | 0.00025084 | 0.00025076
% error | 0.36694 | 1.4153 | 1.1452 | 1.1129
Standard Devation | 0.00024983 | 0.0002081 | 0.00016532 | 9.8029e-05
Relative Deviation | 100.3696 | 82.7402 | 65.9066 | 39.0928
Filtered Average Gaussian Curvature | 0.00024845 | 0.00025049 | 0.0002504 | 0.0002504
simplied 50%
Calculated gaussian curvature with the STL file |  |  |  |  | Gaussian curvature of the same file but resampled to 10% of original size

## Scurve
Scruv